## Slide 1: Investigation of porosity and morphology of Thin films by analyzing SEM images
Prof. T.M.W.J. Bandara
B.Sc. (Ruhuna), M.Phil. (Perad.),
Ph.D.(Perad.)
Faculty of Science
University of Peradeniya
Mr. I.M.G. Janindu Eranga
B.Sc. (Perad.)
Mr. I.M.G. Janindu Eranga B.Sc. (Perad.) | Mr. W.M.I.U.Rathnayake B.Sc. (Perad.) | Prof. T.M.W.J. Bandara B.Sc. (Ruhuna), M.Phil. (Perad.), Ph.D.(Perad.)

## Slide 2: Introduction

## Slide 3: Objective

## Slide 4: Procedure
Sample Preparation
Scanning Electron Microscopy was conducted to capture high-resolution images of the thin film surfaces.
SEM images were processed to generate 3D depth surfaces using specialized software.

## Slide 5: SEM Imaging

## Slide 6: SEM Imaging

## Slide 7: SEM Imaging

## Slide 8: SEM Imaging

## Slide 9: SEM Imaging

## Slide 10: Analysis
Used Python libraries like NumPy, Matplotlib to load and process SEM images.
The intensity of darkness observed in scanning electron microscopy (SEM) images serves as a qualitative indicator of depth.
https://github.com/IsiraUdaththa/3D-representation-of-a-SEM-images

## Slide 11: 3D Depth Surfaces

## Slide 12: 3D Depth Surfaces

## Slide 13: 3D Depth Surfaces

## Slide 14: 3D Depth Surfaces

## Slide 15: 3D Depth Surfaces
The visualization varies depending on our depth estimation.
Currently, there is no algorithm available to determine it.

## Slide 16: Acknowledgments
Thank any collaborators, advisors, or funding sources.

## Slide 17: Q&A

## Slide 18: Thank You!